Miller Cardiac Anaesthesia

Cardiac anesthesia

•Signs of Potential Complications of Cardiopulmonary Bypass (CPB)

High aortic tubing pressure_

Aortic tubing occlusion by kinking, clamp

Improperly positioned aortic cannula (e.g., aortic dissection, cannula tip inserted into branch of aorta)

Aortic cannula too small for required CPB flow

Low venous return_

Aortic dissection

Bleeding from an open blood vessel

Pooling of blood in dependent portions of body

Anaphylactic or anaphylactoid reaction

Obstruction of vena caval cannula (malposition)

Insufficient difference in height of vena cava versus CPB reservoir for gravity drainage

Obstruction of venous tubing (e.g., kinking, air lock, clamp)

Leak in venous return tubing, connectors, CPB reservoir

Hypotension_

Anything limiting CPB pump flow (e.g., low venous return)

Aortic dissection

Low peripheral resistance (e.g., anaphylactic or anaphylactoid reaction, hematocrit <18–20%, drug [anesthetic, vasodilator] effect)

Abnormal blood gases_

Oxygenator failure (? PaO2, != PaCO2)

Inadequate perfusion (? pH, base deficit, PO2 < 40 mm Hg, venous hemoglobin saturation <50%)

Increased oxygen demand (e.g., due to shivering, inadequate skeletal muscle relaxation)

Suffusion, plethora, cyanosis or edema of head, face, eyelids, and conjunctiva_

If unilateral, aortic cannula flow into carotid artery

Obstruction of superior vena caval cannula

Obstruction of jugular venous drainage by caval cannula, head position, neck compression

Isoelectric encephalogram_

Inadequate cerebral perfusion (e.g., due to carotid artery occlusion, hypotension, hypoxemia)

High anesthetic concentration (thiopental used for cerebral protection134)

Extreme hypothermia

Oliguria or anuria_

Aortic dissection

Fibrin deposition or clot in CPB reservoirs or in operative field

Inadequate heparin concentration (e.g., dose too low, rapid elimination at normothermia)

Insufficient heparin cofactor (antithrombin III)

Abdominal distention_

Obstruction of inferior vena caval cannula

Intra-abdominal hemorrhage, ascites

Gastrointestinal distention by gas, fluid

Elevated central venous pressure_

Obstruction of vena caval cannula

Elevated pulmonary artery pressure, distention of heart_

Obstruction of vena caval cannula (on partial CPB)

Incompetent aortic valve (before aortic cross-clamping)

Excessive coronary sinus and bronchial artery flow

Malposition of heart

Diaphragmatic movement_

Hypercarbia

Inadequate muscular relaxation or inadequate anesthesia

Hypertension_

Excessive CPB flow

Inadequate anesthesia

Drug-induced

• Checklist of Preparations for Initiating Cardiopulmonary Bypass (CPB)

I. Before aortic and vena caval cannulation

A. Heparin dose

Activated clotting time (ACT) >300 s (Hemochron)

B. Hemodynamics

Systemic blood pressure appropriate for aortic cannulation (systolic <100 mm Hg)

ECG recorded before and after sternum spread open (especially V5 lead)

Central venous pressure adequate to sustain preload during vena caval cannulation

C. Ventilation

Compliance evaluated (for post-CPB comparison)

Lung inflation appropriate (for surgical access to internal mammary arteries and venae cavae)

Arterial blood gases and acid-base balance satisfactory (for current status and for comparison during and after CPB)

II. Before turning on CPB pump

A. Anesthetic depth and CNS status

Adequacy judged by presence or absence of responses to sternotomy

Muscular paralysis to limit shivering (O2 demand) and dangerous movement

Examination of face (color), eyes (pupils), and EEG recording (if used)

B. Aortic cannula and tubing

No evidence of air

Correct orientation of cannula in aorta

Clamps off aortic and venous CPB tubing

Normal aortic tubing pressure with infusion of 100–200 mL pump prime (checked by perfusionist)

C. Fluid balance

Intravenous fluid administration stopped and pre-CPB fluid administration recorded

Pre-CPB urine output recorded

III. First few minutes of CPB

A. CPB function (before beginning hypothermia)

Aortic tubing pressure normal

Systemic blood pressure as expected

Venous return satisfactory

Bright red color of blood in aortic cannula

B. Ventilation of lungs

Discontinued when ventricular ejection stops

O2 flow continued and lung inflation appropriate (i.e., avoid obstruction of surgical field by distended lungs)

C. Arterial blood analysis

Gases, pH, and acid-base balance

ACT

IV. Monitoring during CPB

A. Heparin

ACT (>400 s)

Inspection of CPB reservoir, pericardial fluid (evidence of fibrin)

B. Blood gases, pH, acid-base balance

Arterial

Venous (PO2 > 40 mm Hg; SO2 > 60%)

Hematocrit (18–22%)

C. Blood pressures

Systemic arterial (40–90 mm Hg)

Pulmonary arterial (<15 mm Hg [usually close to or below zero])

Central venous (normally below zero)

D. Temperatures

Pharyngeal, esophageal

Peripheral (skin, toe, muscle)

Rectal, urinary bladder

Myocardial (if probe used)

Pericardial iced superfusion fluid running (if used)

E. ECG

Quiescent (i.e., isoelectric, absence of fibrillation)

F. CNS status

Color of face, edema formation?

Pupil size, conjunctival swelling

EEG activity appropriate for CPB conditions (hypothermia, anesthesia)

Muscle paralysis adequate (normal PO2 and Hb saturation)

G. Urine output

Volume (>1 mL/kg/h)

Color (evidence of hemolysis?)

H. CPB conditions

Aortic tubing pressure (appropriate for flow and aortic cannula size)

Pump flow (1.5–2.5 L/min/m2)

Venous return satisfactory

Fluid balance appropriate

ECG, electrocardiogram; CNS, central nervous system; EEG, electroencephalogram; PO2, mixed venous O2 pressure; SO2, mixed venous O2 saturation

• Checklist of Preparations for Discontinuing Cardiopulmonary Bypass (CPB)

I. Rewarming

A. Responsiveness of patient

B. Adequacy of heparin anticoagulation

C. Oxygenation and CO2 elimination

D. Metabolic acid-base balance

E. Vasodilation to facilitate warming of peripheral tissues (e.g., toe temperature)

F. Defibrillation (spontaneous, lidocaine, electric)

G. Recalibration of monitoring devices

II. Just before discontinuing CPB

A. Arterial pH, PCO2, PO2

B. Hematocrit level

1. O2 delivery

2. Viscosity (peripheral resistance)

C. Serum potassium

1. Urine flow

2. Insulin ± glucose (to decrease K+ > 6 mEq/L)

3. Calcium (to antagonize K+ > 6 mEq/L)

4. Furosemide (to decrease K+ > 6 mEq/L)

D. Body temperatures

1. Core versus peripheral tissues

E. Heart rate and cardiac rhythm (see Table 49–22)

1. Cardiovascular/defibrillation

2. Pacemaker (atrial, ventricular, atrioventricular sequential)

3. Antidysrhythmic drugs

F. Mean systemic arterial pressure

1. Vasodilator/vasopressor

G. Venous and pulmonary artery pressures

1. Vasodilators

2. Blood volume in CPB reservoir

H. Ventilation of lungs

1. Air flow (wheezing, air trapping)

2. Compliance (pulmonary edema, gastric distention, tense diaphragm)

3. Elimination of atelectasis

4. Pneumothorax, hydrothorax (irrigation fluid)

I. Venting of arterial air

1. Cardiac chambers (verification by TEE if used for other purposes)

2. Aorta

3. Saphenous vein grafts

4. Head-down position, carotid artery compression with ventricular ejection

III. Gradual discontinuation of CPB (see Fig. 49–8)

A. Preload

1. PAOP or LAP

2. CVP

B. Ventricular ejection

1. dP/dt on arterial pressure tracing

2. Cardiac output

3. TEE imaging

4. Inotropic drugs

Catecholamine injection/infusion

5. Vasodilators

C. Return of CPB reservoir blood to patient

1. Venodilator and head-up position

IV. After discontinuation of CPB, surgical control of major bleeding, and decannulation of venae cavae and aorta

A. Protamine antagonism of heparin

B. Maintenance of circulating blood volume and coagulation

1. Transfusion of packed red blood cells

2. Fresh frozen plasma

3. Platelets

4. ?-Aminocaproic acid, desmopressin (?)

5. Cryoprecipitate

C. Hemodynamic adjustments

D. Anesthesia

E. Preparations for transfer of patient from operating room to intensive care unit

1. Monitoring

2. Ventilation

3. Hemodynamic therapy

4. Anesthesia-analgesia

•Therapy of Abnormal Heart Rate and Rhythm at End of Cardiopulmonary Bypass

DIAGNOSIS/	THERAPEUTIC STEPS

Asystole or heart block due to potassium cardioplegia, surgery (trauma to nodal and conducting tissues), or preoperative pathophysiology

_	Pacemaker: atrial, ventricular, atrioventricular sequential

Calcium chloride, 1–2 g

Sodium bicarbonate, 50 mEq

Insulin, 10 units, regular, ±glucose, 10 g

Furosemide, start with 3 mg and increase doses logarithmically (10, 30, 100) every 15 min up to 100 mg as needed to establish diuresis

Temporary epicardial pacing wires for postoperative use

Atropine, incremental doses up to total of 2–2.5 mg/70 kg over 5–10 minutes

Isoproterenol, 0.5–10 ?g/min

Supraventricular tachyarrhythmia

_Increase core temperature to 37°C

Correct electrolyte abnormalities (K+, Mg2+)

Correct arterial pH, PCO2, and hematocrit level

Check position of CVP or other monitoring catheters

Overdrive atrial pacing

Synchronous cardioversion (internal paddles, 5–10 watt-seconds)

Adenosine initial 6 mg rapidly IV, then 12 mg if needed to diagnose dysrhythmia

Ouabain, 0.1–0.2 mg, or digoxin, 0.25–1 mg

Propranolol, 0.5–3 mg; esmolol 25–75 mg bolus plus 5–200 ?g/kg/min infusion

Diltiazem 5–25 mg IV over 1–3 min plus infusion

Procainamide 100 mg IV every 5 min to effect (5–15 mg/kg total), then 1–4 mg/min infusion

Recurrent ventricular tachycardia or fibrillation	_Increase core temperature to 37°C

Correct electrolyte abnormalities (K+, Mg2+)

Correct arterial pH, PCO2, PO2, and hematocrit level

Check position of pulmonary artery catheter

Maintain satisfactory BP, PAOP, CO

Lidocaine 1–2 mg/kg bolus plus 2–4 mg/min infusion

Defibrillation (internal paddles, 10–60 watt-seconds)

Procainamide (see above)

Bretylium 5–10 mg/kg IV over 10 min plus 1–2 mg/min infusion

CVP, central venous pressure; BP, blood pressure; PAOP, pulmonary artery occlusion pressure; CO, cardiac output.